## Slide 1: Back on Tap: A Legal Framework for Drinking Fountains in MA Schools
Cara Wilking, J.D.
Public Health Advocacy Institute
With Special Thanks for Research Assistance from Lindsey Palardy, J.D. Candidate

## Slide 2: The Problem
Old School Buildings
Poor Water Quality Test Results
Negative Media Attention
Replacement of Plumbed Drinking Fountains with Bottled Water Dispensers
Lack of Funding to Renovate/Repair
Photo available at: http://archive.aft.org/pubs-reports/american_educator/issues/spring07/FacilitiesGap.pdf

## Slide 3: Types of School Water
TAP
  Plumbed Drinking Fountains Throughout School Building (“Bubblers”)
  Tap Water Used for Food Preparation
BOTTLED
  Free Bottled Water Dispensers (e.g. 5-gallon Poland Spring)
  Bottled Water Sold in Vending Machines
  Bottled Water Sold on the Lunch Line

## Slide 4: School Drinking Water in the News
Feb 1, 2010
I-Team Discovers Unsafe Drinking Water In Schools

## Slide 5: Basic Legal Framework
Access
Quality
Infrastructure
Funding

## Slide 6: Access
MA Dept. of Education:
  “The school shall provide a source of sanitary drinking water located in or convenient to rooms occupied by students.” 603 CMR § 18.04(3)(d) (2010).
State Plumbing Code
  ONE Drinking Fountain Per 75 STUDENTS

## Slide 7: Quality
MA Drinking Water Standards
  Apply to public water suppliers
  15 ppb of lead
  1300 ppb of copper
MA Dept. of Environmental Protection
  MA public water suppliers required to test two schools annually
  MADEP Lead in School Drinking Water Program requested testing of all schools in 2004-2005

## Slide 8: Infrastructure: School Plumbing 101
http://www.epa.gov/safewater/schools/pdfs/lead/toolkit_leadschools_guide_3ts_leadschools.pdf

## Slide 9
http://www.epa.gov/safewater/schools/pdfs/lead/toolkit_leadschools_guide_3ts_leadschools.pdf
Drinking Fountain Basics

## Slide 10: MA Plumbing Code Requirements
    ONE BUBBLER PER 75 STUDENTS
    Potable water
    Nontoxic pipes (when newly installed)
    Handicap accessible

## Slide 11: The Elephant in the Room
$
$
$

## Slide 12: Funding
  MA School Building Authority
  Criteria for determining need:
    Effect of building’s condition on educational program
    School in danger of losing accreditation
    Risk posed to student health and safety by structural deficiencies
    Barred by statute from funding projects “necessitated, in whole or in part, by the failure…to make adequate and prudent provisions for the care and maintenance of said school.”

## Slide 13: Getting Back on Tap!
Develop funding strategy
Replace pipes
Replace/add bubblers
Institute flushing regime or install automated flushing system
Filtration (least feasible option)

## Slide 14: Possible Policy Changes
MA Dept. of Environmental Protection
  Create enforceable requirement for routine annual school water testing and parental notification.
  Create enforceable remediation requirement specifying repairs be made within a certain time period and that bottled water shall be distributed on a short term basis (no more than one school year) during renovation and repairs.
MA Dept. of Education
  Make drinking fountains a requirement for school accreditation
MA School Building Authority
  Include drinking fountain inventory during school rating inspections and compile information into a special report for lawmakers and agency heads.
  Prioritize drinking water infrastructure upgrades in points system.
  “Piggyback” pipe and fountain repair onto heating system upgrades involving plumbing.